Hot Work Program

http://ehs.psu.edu/hot-work/overview

EHS Contact: Steve Triebold, sgt4@psu.edu

814-865-6391

Who does this program apply to?

- University employees, students and contractors who may perform Hot Work in university buildings or on equipment with combustible / flammable materials in the immediate area.

- Hot Work activities include temporary operations involving the use of open flames or which produces heat and / or sparks.

  - Examples include brazing, cutting, grinding, torch soldering, thawing pipes, torch applied roofing, welding and use of heat guns.

What are the key points of this program?

- Hot Work should not be performed if the work can be avoided or performed in a safer manner.

- When practical, objects to be welded, cut or heated should be moved to a designated safe location e.g. maintenance shop.

- A Hot Work permit must be completed and all precautions on the permit must be met prior to any work commencing.

- Hot Work permits are good for only the day specified on the permit.

- Supervisors must:

  - Identify the individuals who are included in this program.

  - Train individuals in hot work permit procedures

  - Provide, collect and send completed permits to EHS.

  - Ensure compliance with procedures

- Employees

  - Be thoroughly familiar with Hot Work procedures

  - Follow all Hot Work Procedures

- Training Requirements:

  - Hot Work procedures

  - Fire Extinguisher Use

- Recordkeeping Requirements:

  - Work units need to maintain individual training records

For additional information:

- Penn State Hot Work Permit Program

http://www.ehs.psu.edu/workplace-safety/hot-work-program/requirementsguidelines

- Penn State Hot Work Permit

http://www.ehs.psu.edu/workplace-safety/hot-work-program/forms

- OSHA Regulations 29 CFR 1926.352 Welding and Cutting

http://www.osha.gov/pls/oshaweb/owadisp.show_document?p_table=STANDARDS&p_id=10698