Instructions:

- Post this inspection log near the eyewash station. Document flush weekly.

- Run water for at least 30 seconds and verify:

  - The station is free from damage, corrosion, or contaminants that could hinder operation

  - The handle to activate the water is present and functioning

  - The water supply has not been turned off

  - The eyewash station water flows sufficiently to reach the eyes

  - Nothing is obstructing access

  - Water appears to flush clean

This form can be laminated and reused with dry-erase marker, or you can dispose and replace after the table is full.