**Liquid Scintillation Vials Collection**

Liquid scintillation vials should be saved for disposal in the containers supplied by EHS for scintillation vials only. Be sure to tighten the caps on all the vials before placing them in the waste container.Do not empty the vials into another container. Do not place different isotopes in a single waste container without the prior approval of EHS. Each container supplied by EHS will include a label that must be completed before the waste will be collected by EHS.

Whenever possible nonflammable (flashpoint > 140 degrees F) liquid scintillation cocktail should be used[. Click here for a list on nonflammable liquid scintillation cocktail.](http://ehs.psu.edu/sites/ehs/files/nonflammable_liquid_scintillation_cocktail.rtf)